February 16, 2012

ISSUE: FAT OIL GREASE and GREASE TRAP

There seems to be a misconception about oil and grease. These can come in many different forms, oils from food processing, grease due to fats from animals that are processed or cooked.

Grease traps can be found in virtually all food service. By design, a grease trap not only traps grease, but it also traps other solid food material. The purpose of a grease trap is on-site collection of food waste that would otherwise flow directly to the waste water treatment facility.

As the waste collects, the trap becomes less efficient and finally reaches the point where it becomes clogged and fails. Trap failure results in drain back-ups and the release of obnoxious odors into the food handling establishment. Once it has failed, untreated grease traps need to be pumped/cleaned frequently, at significant expense, and emit obnoxious odors, often in the middle of a working kitchen or other food handling facility.

Additional expense is often incurred by the fines that are imposed by a municipality due to elevated levels of BOD, FOG and suspended solids. This is inconvenience for the management of the food service facility, and offensive odors for the patrons. Specially selected bacteria will significantly reduce the need for pumping while, controlling obnoxious odors commonly associated with a grease trap.

Grease is one waste that the sewer system cannot handle and therefore needs to be kept out of the system, but most often is not, and this will disturb the normal function of the STP.

Biological additives are a safe, natural, environmental friendly way to help assist in the cleaning up of a grease trap. Bacteria can naturally degrade the fats, oils and grease, as well as any other organic materials that enter a grease trap or pipe. They actually consume these as a food source, as opposed to traditional methods of surfactants, enzymes or chemicals that may have eliminated the grease in the grease trap, but just transferred them down the pipe and eventually into the wastewater treatment plant and can cause upset conditions.

Bacteria not only clean the grease traps if properly applied, they can help clean up the lines and can lighten the load at the treatment plant and reduce solids or help with reduction of BOD and TSS loading.

With Regards

For Lemmens Shardlow (I) Pvt.Ltd,

Hiren Pancholi

093710 61789

www.lemmensshardlow.com